- Leicester Water Supply District

- Regulations For Water Use

RULES AND REGULATIONS GOVERNING THE USE OF PUBLIC WATER AND CONNECTIONS OF BUILDINGS TO THE PUBLIC WATER MAINS AND PROVIDING PENALTIES FOR VIOLATIONS THEREOF IN THE LEICESTER WATER SUPPLY DISTRICT IN THE TOWN OF LEICESTER, STATE OF MASSACHUSETTS.

Be it ordained and enacted by the Water Commissioners of the Leicester Water Supply District in the Town of Leicester, Massachusetts, that the following are the Rules and Regulations as adopted by the Water Commissioners on January 6,1968, revised April 14, 1976, revised, August 9, 1986 and April 12, 2001:

- ARTICLE 1

Section 1	   The following Rules and Regulations shall be considered a part of the contract with every person who takes water within the Water District or whose property is connected to the sewer system and every person by taking water and having his property connected to the sewer system shall be considered to express his or her consent to be bound thereby.

Section 2  The Water Commissioners reserve the right to alter these Rules and Regulations as provided for under State Law if future needs require such action.

- ARTICLE 2

- APPLICATIONS FOR WATER AND SEWER SERVICES

Section 1 All applications for the use of water or to connect any private sanitary drain with the public sewer must be made by the owner on forms provided for that purpose by the Water Commissioners. The various uses for which for which water is to be applied must be fully stated. It shall not be used for any other purpose without previous notice being given and a permit obtained.

Section 2 No work of laying water services or sanitary drains shall be commenced until the application has been submitted by the owner and approved by the Water Commissioners.

Section 3 No water or sewer service may be installed during the winter from November 15 to April 15 unless special permission is granted by the Water Commissioners.

- ARTICLE 3

- WATER AND SEWER BILLS

Section 1  All Bills for water, including the minimum charge for water furnished by meter and for sewer service shall be paid quarterly. The Treasurer shall render bills January, April, July, and October for the water and sewer for the three months ending the last day of the previous month.

Section 2  Billing of water for a new building shall start when the water is turned on from the main.

- 1.

- ARTICLE 4

- NON-PAYMENT OF BILLS

Section 1  In every case of non-payment of the water and sewer bills for thirty (30) days after the date of issue, the Commissioners shall cause a written demand to be delivered at the premises where the water is taken and the sewer connection is, and unless the bill is paid within ten (10) days thereafter, the water may be shut off and shall not be turned on until the amount due plus the charge of ($25.00) for shutting off and ($25.00) for turning on plus other charges, if any, is paid whether other persons taking water through the same service pipe are delinquent or not.

Section 2 Under Chapter 487 of 1954, water and sewer bills shall automatically become a lien on the property thirty (30) days after the date of issue.

- ARTICLE 5

- RIGHT TO ENTER PREMISES

Section 1  The Superintendent and other duly authorized employees of the Water District bearing proper credentials and identification shall be permitted to enter all properties, which are supplied with water. The Superintendent or his representatives shall have the authority to inquire into any processes including metallurgical, chemical, oil refining, ceramic, paper or other industries beyond the point to ascertain the uses that the water is being put to: to read, inspect and repair meters; to examine pipe and fixtures which must be of approved quality and arrangement; and, also to shut off water for non-payment of bills, or for violation of these Rules and Regulations.

Section 2 While performing the necessary work on private properties referred to in Article 5, Section 1 above, the Superintendent or duly authorized employees of the Water District shall observe all safety rules, applicable to the premises established by the company.

Section 3  The Superintendent and other duly authorized employees of the Water District bearing proper credentials and identification shall be permitted to enter all private properties through which the Water District holds duly negotiated easements for the purpose of, but not limited to, inspections, observations, repairs, and maintenance of any portion of the water system lying within said easement. All entry and subsequent work, if any, on said easement, shall be done in full accordance with the terms of the negotiated easement pertaining to the private property involved.

- ARTICLE 6

- NEW WATER INSALLATIONS

Section 1 In no case shall the main be tapped larger than 3/4” nor more than once for the same premises unless special permission has been granted by the Water Commissioners.

Section 2 The property owner shall pay for installing the water service from the existing water main to the inner face of the building foundation including corporation cock and box, curb cock and box, where directed, and an approved valve at the inner face of the foundation.

- Single family houses and multiple housing connecting into an existing water line or connecting a new water service shall be subjected to a twenty five hundred ($2500.00) connection fee for each unit or apartment payable to the Leicester Water Supply District upon application to the Commissioners for service.

2.

- The connection fee for commercial and industrial installations, dormitories, schools facilities, churches, restaurants etc. shall be determined by the Commissioners based on the Title 5 requirements at a rate of eight dollars ($8.00) per gallon and shall be payable to the Leicester Water Supply District before connection is approved by the Commissioners.

Section 3  All underground piping must have a minimum cover of 4 ½ feet and be one of the following:

- Copper tubing, Type K.

- Ductile Pipe class 52 double cement lined pipe.

Section 4   All pipe and valves must be installed according to Water District Specifications. Reasonable time must be allowed for inspections by the Superintendent of the Water District and no backfilling is to be done until the inspection is made. Any work pertaining to water services or water mains that has been covered before inspection by the Superintendent shall be uncovered for the purpose of inspection by the person responsible.

Section 5  All work on water lines shall be done only by qualified persons or contractors experienced in this kind of work and licensed by the Water District to perform such work, and they shall carry liability Insurance for Personal Injury and Property Damage with limits satisfactory to the Water District. Certificates of Insurance shall be in the hands of the Superintendent before work is started. Road permits shall be required of every installer of a water service before any work is started in a public way. These permits are issued by the Town of Leicester or the State of Massachusetts, depending upon the location of the work.

Section 6  When water mains are exposed for connections, the tapping shall be made and the main shall be suitably backfilled the same day unless special permission is given by the Water Commissioners.

Section 7  In all Subdivisions approved by the Town of Leicester Planning Board, the Developer shall furnish and install, as specified by the Water Commissioners, all water pipes, gates, hydrants, service connections, and fittings to make a complete water system. All mains shall be Ductile Iron double cement lined class 52 not less than eight (8”) in diameter. The developer shall furnish a bond for satisfactory completion of his project, or before work shall be started. Continuous inspection services may be required at the discretion of the Water Superintendent during the water main installation at the expense of the developer.

Section 8  When water mains 8” or larger are installed at the expense of persons other than the Water District, said mains shall automatically become the property of the Water District seven (7) years after the date of complete installation unless said person chooses to relinquish ownership sooner.

ARTICLE 7

REPLACEMENT OF WATER PIPES

Section 1  The Water District will pay for replacing the service pipe from the water main in a public street to the property line.

Section 2  The owner of the premises shall pay for that portion of the service pipe as may be laid within the property line and shall bear the cost of maintaining this pipe at all times.

3.

ARTICLE 8

LIABILITY OF THE WATER DISTRICT

Section 1  No damage shall be allowed any taker for shutting off water for the purpose of doing ordinary repairs on pipes, gates, hydrants, and other fixtures or on the main piping system. The Water District, however, will make as reasonable effort to notify customers who will be affected by shut-offs for repairs, except emergencies at the discretion of the Water Superintendent.

Section 2  Steam boilers and hot water tanks supplied directly with water from mains shall be protected with proper safeguards against danger from collapsing, water hammer, backflow or backpressure; however, the Water District shall not be held liable for any damage to the premises in any event.

Section 3  The Water District shall not be liable for any land or lawn damage caused by installation of service pipes, reasonable effort will be made to limit damage caused by installations.

Section 4  The Water District shall not be liable for any damage resulting from dirty water resulting from opening or closing of any gate for repairs, use of hydrants, breaking of any mains or supply lines, or any other reasons.

ARTICLE 9

LIABILITY OF PROPERTY OWNER

Section 1  All water takers must have their pipes so arranged that the water can be drawn from them to prevent freezing, and any portion of the water pipe between the stop and waste cock or ball valve and the street which cannot be so emptied, must be properly protected against frost by boxing or other effective means.

Section 2  Persons taking water must keep their water pipes and fixtures in good repair and protected from frost at their own expense, and they shall be held liable for all damage which may result from their neglect. THEY SHALL PREVENT ALL UNNECESSARY WASTE AND WATER SHALL NOT BE LEFT RUNNING TO PREVENT FREEZING.

Section 3  The property owner shall be liable for any damage caused to the water meter.

ARTICLE 10

WORK ON OR ALTERATION OF PIPES INSTALL BY THE WATER DISTRICT

Section 1  No work or alterations shall be done on any water pipes or mains installed by the Water District, except by a person authorized by the Water Commissioners.

Section 2  No pumping apparatus shall be used on water mains or services other than the pumping equipment used by Fire Department unless special approval has been granted by the Water Commissioners.

ARTICLE 11

CROSS CONNECTIONS

Section 1  Service pipes or fixtures of any description, that are connected with the mains of the Water District, shall not, under any circumstances, be connected with any other source

4.

of water supply unless an approved State cross connection permit is issued and an approved cross connection device installed.

Section 2  All new service line installations shall be equipped with double check valve assemblies after the water meter.

Section 3  Whenever existing water services are replaced double check valve assemblies shall be installed at the expense of the property owner after the water meter.

# Section 4  A separate and complete State Approved Cross Connection Control Regulation is added as a supplement to these Rules and Regulations October 10, 1991.

ARTICLE 12

USE OF HAND HOSE OR LAWN SPRINKLER

Section 1 The use of one hand hose or One Lawn Sprinkler per house is restricted to two (2) hours in any day, between 6 p.m. and 8 p.m. The water can only be used on the premises of the taker.

ARTICLE 13

POOLS AND RESERVOIRS

Section 1 No water from the District shall be used to fill any pool or reservoir until proper application has been made to the Commissioners.

Section 2 Pools and reservoirs shall be filled only when water is available and at the discretion of the Commissioners.

Section 3 Only one hand hose at the site shall be used to fill a pool or reservoir.

Section 4 A fee shall be charged for filling pools and reservoirs according to the rate schedule advertised.

ARTICLE 14

EMERGENCY SUPPLY OF WATER

Section 1 There will be no water supplied to any other water department or water district other than for fire protection or a declared emergency.

ARTICLE 15

HYDRANTS

Section 1 No person shall shut off, take off caps, or in any way interfere with hydrants except for the legitimate purpose of extinguishing fires without a permit from the Water Commissioners.

Section 2 The Fire Department shall have control of the hydrants in case of fire and for the necessary practices.

Section 3 No person or persons shall use the water from a hydrant without permission from the Superintendent and then only if no other suitable source is available. Any attached

5.

# apparatus shall be first approved by the Superintendent. Any amount of water used from a hydrant other than for fire protection or practice shall be metered.

ARTICLE 16

ONE TAKER NOT PERMITTED TO SUPPLY ANOTHER

. Section 1 No water taker shall supply water to any other persons or families without the consent of the Water Commissioners nor after such permission has been withdrawn.

9ARTICLE 17

SEPARATE SERVICE FOR EACH PROPERTY

Section 1 Every property shall be served with a separate and distinct service having a shutoff at the street line, except by special arrangements with the Water Commissioners.

ARTICLE 18

WATER METERS

Section 1  All water services shall be metered. 5/8” water meters will be supplied and installed by the District at the expense of the homeowner. If a larger meter is required, the owner must supply the meter and pay for the installation, which is to be done under the supervision of the Superintendent or other representative of the Leicester Water Supply District.

Section 2  The Water Commissioners shall approve the kind of water meters which shall be used and reserve the right to have any meter inspected at any time, and to refuse to furnish water through any meter which, upon inspection, may appear to be out of order or inaccurate. All meters will be repaired by the Water District at the owner’s expense.

Section 3  All meters and outside registers shall be sealed with copper wire and lead seals bearing the Leicester Water Supply seal.

Section 4  In any case where the seal has been broken on either the water meter or the outside register, other than for repairs, the owner of the property where the meters are installed shall be subject to not less than $100.00 and not more than $500.00 fine.

Section 5  Any by-pass or attempt to by-pass the water meter or any attempt to tamper with either the meter, outside register or wire leading to the outside register shall be subject to not less than $100.00 and not more than $500.00 fine.

Section 6  A charge of $5.00 shall be made to replace any seal to the meter or outside register.

ARTICLE 19

SHUTTING OFF AND TURNING ON WATER

Section 1  When application is made for shutting off and turning on water in cases of repairs or protection from frost by the owner, a charge will be made according to the rate schedule for shutting off and turning on. No person other than an authorized agent of the Water District shall shut off or turn on any corporation cock, curb cock or main gate without special permission from the Superintendent.

6.

ARTICLE 20

VACANCY OF PREMISES

Section 1  If the building is to be vacated for any length of time and especially in the winter, the superintendent should be notified to shut off the water in the street.

Section 2  No abatement shall be allowed unless the water is shut off for three months or more.

ARTICLE 21

SERVICES OUTSIDE THE WATER DISTRICT

Section 1  Chapter 171, Acts of 1888, allows the Water District to supply water, if available, to services outside the geographical boundaries, but the Water District cannot install, repair, or replace any materials or furnish any labor to keep these lines in working order. A written agreement shall be required before water can be furnished to such services.

ARTICLE 22

MAINS INSTALLED BY OTHERS

Section 1  All future water mains smaller than 8” installed by a person or persons shall not be accepted nor supplied with water by the Water District with the exception of the 6” branches, which supply Fire Hydrants.

ARTICLE 23

RESTRICTION ON USE OF WATER

Section 1  The Water Commissioners reserve the right to restrict the use of water whenever a public emergency so requires.

ARTICLE 24

PROTECTION FROM DAMAGE

Section 1  No unauthorized person shall maliciously, willfully, or negligently break, damage, destroy, cover, uncover, deface or tamper with any structures, appurtenances, or equipment which is a part of the water works. Any person violating this provision shall be subject to immediate arrest under charge of disorderly conduct.

ARTICLE 25

PENALTIES

Section 1  Any person found in violating of any provision of these rules and regulations except ARTICLE 24, Section 1 shall be served by the District with written notice stating the nature of the violation and providing a reasonable time limit for satisfactory correction thereof. The offender shall, within the period of time stated in such notice, permanently cease all violations.

Section 2  Any person who shall continue any violation beyond the time limit provided for in ARTICLE 25, Section 1, shall be fined in the amount not exceeding fifty ($50.00) dollars for each violation. Each day in which any violation shall continue shall be deemed a separate offence.

7.

Section 3  Any person violating any provisions of these Rules and Regulations shall become liable to the Water District for any expense, loss or damage occasioned the Water District by reason of such violation.

Section 4  Whenever any of these Rules and Regulation is violated, the water may be shut off from the building or place where the violation occurs, although two or more parties may be receiving water through the same service pipe, and shall not be turned on again, except by order of the Water Commissioners and on payment of the shut off and turn on fees plus any other charges, if any.

ARTICLE 26

WATER DISTRIT NOT RESPONSIBLE

Section 1  The Water District shall not be responsible for any inconvenience or damage due to breakdowns or stoppages

ARTICLE 27

VALIDITY

Section 1  All Rules and Regulations or parts of the Rules and Regulations in conflict herewith are hereby repealed.

Section 2  The invalididity of any section, clause, or provision of these Rules and Regulations, shall not affect the validity of any part of these Rules and Regulations, which can be given effect without such invalid part or parts.

ARTICLE 28

RULES AND REGULATIONS IN FORCE

Section 1  These Rules and Regulations as revised in the first revision on April 14, 1976, second revision on August 9, 1986 shall be in full force and effect from and after their passage, approval, recording, and publication as provided by law.

Section 2 Third revised Rules and Regulations passed and adopted by the Water Commissioners of the Leicester Water Supply District in the Town of Leicester, State of Massachusetts on this 12th day of April 2001 by unanimous vote.

Signed

______________________     _________________________   _____________________

Leonard S. Gabrila                        J.Donald Lennerton Jr.            Robert F. Wilson

WATER COMMISSIONERS

Attest:   ___________________________ District Clerk

Frank W. Lyon

Advertised: New Leader May 2,9,16, 2001

8.

2001 REVISED REGULATIONS FOR WATER USE IN THE LEICESTER WATER SUPPLY DISTRICT

RULES AND REGULATIONS GOVERNING THE USE OF PUBLIC WATER AND CONNECTIONS OF BUILDINGS TO PUBLIC WATER MAINS AND PROVIDING PENALTIES FOR VIOLATIONS THEREOF IN THE LEICESTER WATER SUPPLY DISTRICT IN THE TOWN OF LEICESTER, COUNTY OF WORCESTER, STATE OF MASSACHUSETTS.

Be it ordained and enacted by the Water Commissioners of the Leicester Water Supply District in the Town of Leicester, Massachusetts, that the following are the rules and regulations as adopted by the Water Commissioners on January 6, 1968 and revised April 14, 1976, August 9, 1986 and April 12, 2001.

ARTICLE 4

NON-PAYMENT OF BILLS

# Section 1  a) Delete words “ten dollars ($10.00)” and replace with “twenty five dollars

# ($25.00)”.

ARTICLE 6

NEW WATER INSTALLATIONS

Section 2  a) Delete words “fifteen hundred ($1500.00)” and replace “twenty five hundred

($2500.00).

b) Add the words “The connection fee for commercial and industrial installations,

Dormitories, schools facilities, churches, restaurants etc. shall be determined

By the Commissioners based on the Title 5 requirements at a rate of twelve

Dollars ($12.00) per gallon and shall be payable to the Leicester Water

Supply District before connection is approved by the Commissioners.

Section 7    Delete the words “ All mains shall be cast iron cement lined pipe or wrought iron cement lined pie not less than six (6) inches in diameter “ and replace with “ All mains shall be Ductile Iron double cement lined class 52 not less than eight (8”) in diameter.

Section 8    Delete the words “six (6) inches” and replace with eight (8) inches”.

ARTICLE 11

CROSS CONNECTIONS

Section 2   Add the words “All new service line installations shall be equipped with double check valve assemblies after the water meter”.

Section 3   Add the words “When ever existing water services are replaced double check valve assemblies shall be installed at the expense of the property owner after the water meter”.

# Section 4   Add the words “A separate and complete State Approved Cross Connection Control Regulation is added as a supplement to these Rules and Regulations October 10, 1991”.

ARTICLE 19

SHUTTING OFF AND TURNING ON WATER

# Section 1  a) Delete words “five dollars ($5.00)” and replace with “twenty five dollars

# ($25.00)”.

ARTICLE 22

SMALL MAINS INSTALLED BY OTHERS

Section 1   Replace with the words “All future water mains smaller than 8” installed by a person or persons shall not be accepted nor supplied with water by the Water District with the exception of the 6” branches which supply Fire Hydrants”.

RULES AND REGULATIONS IN FORCE

Section 1  These Rules and Regulations as revised in the first revision on April 14, 1976, second revision on August 9, 1986 shall be in full force and effect from and after their passage, approval, recording, and publication as provided by law.

Section 2 Third revised Rules and Regulations passed and adopted by the Water Commissioners of the Leicester Water Supply District in the Town of Leicester, State of Massachusetts on this 12th day of April 2001 by unanimous vote.

Signed    Leonard S. Gabrila                                               Frank W. Lyon, District Clerk

J.Donald Lennerton Jr.

Robert F. Wilson

WATER COMMISSIONERS